## OUTPUT LIST
데모용 가상 데이터입니다. 실제 프로젝트 자료가 아닙니다. CONDITION 열은 자연어로 작성된 실제 서류 형태를 재현한 것입니다.
NO | TAG | SERVICE | SYSTEM | TYPE | FAIL POSITION | DRIVE | PLC | REMARK | PANEL | PN(DP) | RACK | SLOT | CH
1 | P-1101A | RAW WATER TRANSFER PUMP A | PRETREATMENT | PUMP | FAIL STOP | MCC | PLC-UPW-01 |  | CUB-D |  | 0 | 1 | 1
2 | P-1101B | RAW WATER TRANSFER PUMP B | PRETREATMENT | PUMP | FAIL STOP | MCC | PLC-UPW-01 |  | CUB-D |  | 0 | 1 | 2
3 | XV-1102 | RAW WATER INLET VALVE | PRETREATMENT | ON-OFF VALVE | FAIL CLOSE | SOLENOID | PLC-UPW-01 |  | CUB-D |  | 0 | 1 | 3
4 | XV-1103 | MEDIA FILTER BACKWASH VALVE | PRETREATMENT | ON-OFF VALVE | FAIL CLOSE | SOLENOID | PLC-UPW-01 |  | CUB-D |  | 0 | 1 | 4
5 | P-2101A | RO HIGH PRESSURE PUMP A | RO SYSTEM | PUMP | FAIL STOP | VFD | PLC-UPW-01 |  | CUB-D |  | 0 | 1 | 5
6 | P-2101B | RO HIGH PRESSURE PUMP B | RO SYSTEM | PUMP | FAIL STOP | VFD | PLC-UPW-01 |  | CUB-D |  | 0 | 1 | 6
7 | XV-2102 | RO FEED VALVE | RO SYSTEM | ON-OFF VALVE | FAIL CLOSE | SOLENOID | PLC-UPW-01 |  | CUB-D |  | 0 | 1 | 7
8 | XV-2103 | RO CONCENTRATE DRAIN VALVE | RO SYSTEM | ON-OFF VALVE | FAIL OPEN | SOLENOID | PLC-UPW-01 |  | CUB-D |  | 0 | 1 | 8
9 | XV-2104 | RO PERMEATE DIVERT VALVE | RO SYSTEM | ON-OFF VALVE | FAIL CLOSE | SOLENOID | PLC-UPW-01 |  | CUB-D |  | 0 | 1 | 9
10 | P-3101 | CEDI FEED PUMP | CEDI SYSTEM | PUMP | FAIL STOP | VFD | PLC-UPW-01 |  | CUB-D |  | 0 | 1 | 10
11 | XV-3102 | CEDI INLET VALVE | CEDI SYSTEM | ON-OFF VALVE | FAIL CLOSE | SOLENOID | PLC-UPW-01 |  | CUB-D |  | 0 | 1 | 11
12 | XV-3103 | CEDI CONCENTRATE VALVE | CEDI SYSTEM | ON-OFF VALVE | FAIL OPEN | SOLENOID | PLC-UPW-01 |  | CUB-D |  | 0 | 1 | 12
13 | R-3104 | CEDI DC RECTIFIER | CEDI SYSTEM | RECTIFIER | FAIL OFF | PANEL | PLC-UPW-01 |  | CUB-D |  | 0 | 1 | 13
14 | XV-4101 | UPW TANK INLET VALVE | UPW TANK | ON-OFF VALVE | FAIL CLOSE | SOLENOID | PLC-UPW-01 |  | CUB-D |  | 0 | 1 | 14
15 | XV-4102 | UPW TANK DRAIN VALVE | UPW TANK | ON-OFF VALVE | FAIL CLOSE | SOLENOID | PLC-UPW-01 |  | CUB-D |  | 0 | 1 | 15
16 | P-5101A | POLISHING CIRCULATION PUMP A | POLISHING LOOP | PUMP | FAIL STOP | VFD | PLC-UPW-01 |  | CUB-D |  | 0 | 1 | 16
17 | P-5101B | POLISHING CIRCULATION PUMP B | POLISHING LOOP | PUMP | FAIL STOP | VFD | PLC-UPW-01 |  | CUB-D |  | 0 | 1 | 17
18 | UV-5102 | POLISHING UV TOC REDUCER | POLISHING LOOP | UV UNIT | FAIL OFF | PANEL | PLC-UPW-01 |  | CUB-D |  | 0 | 1 | 18
19 | XV-5103 | POLISHING LOOP INLET VALVE | POLISHING LOOP | ON-OFF VALVE | FAIL CLOSE | SOLENOID | PLC-UPW-01 |  | CUB-D |  | 0 | 1 | 19
20 | P-6101A | DISTRIBUTION PUMP A | DISTRIBUTION | PUMP | FAIL STOP | VFD | PLC-UPW-01 |  | CUB-D |  | 0 | 1 | 20
21 | XV-6102 | POU SUPPLY VALVE | DISTRIBUTION | ON-OFF VALVE | FAIL CLOSE | SOLENOID | PLC-UPW-01 |  | CUB-D |  | 0 | 1 | 21
22 | P-7101 | RECLAIM TRANSFER PUMP | RECLAIM | PUMP | FAIL STOP | MCC | PLC-UPW-01 |  | CUB-D |  | 0 | 1 | 22
23 | LCV-01 | RAW WATER POND LEVEL CONTROL VALVE | PRETREATMENT | CONTROL VALVE | FAIL OPEN | AO/POSITIONER | PLC-UPW-01 | INTERLOCK_SAMPLE 실물양식 데모용. PANEL 배선(계기리스트) 없음 — 판넬 위치 조회 시 추정하지 않음. | CUB-D |  | 0 | 2 | 1
24 | RWP-01 | RAW WATER PUMP | PRETREATMENT | PUMP | FAIL STOP | MCC | PLC-UPW-01 | INTERLOCK_SAMPLE 실물양식 데모용. PANEL 배선(계기리스트) 없음. | CUB-D |  | 0 | 3 | 1