## INSTRUMENT LIST
데모용 가상 데이터입니다. 실제 프로젝트 자료가 아닙니다. 계기 사양 문서입니다 — 배선(랙·슬롯·채널·판넬)은 IO_LIST.xlsx 에 있고 TAG 로 조인합니다.
TAG NO. | DESCRIPTION | Q'TY | SENSOR TYPE | MATERIAL |  | SCALE RANGE |  |  | DISPLAY | POWER | OUTPUT SIGNAL | CONNECTION |  |  | LINE |  | FLUID |  | MODEL | MAKER | LOCATION | REMARKS
|  |  |  | ELEMENT | BODY | MIN | MAX | UNIT |  |  |  | TYPE | SIZE | MATERIAL | SIZE | MATERIAL | NAME | CONDITION
AIT-1001 | PRETREATMENT CONDUCTIVITY |  | CONDUCTIVITY |  |  | 0 | 100 | uS/cm |  |  | 4-20mA AI | [7 empty] | M300 | METTLER TOLEDO
PIT-1002 | PRETREATMENT PRESSURE |  | PRESSURE |  |  | 0 | 10 | bar |  |  | 4-20mA AI | [7 empty] | TX-2000 | GENERIC
FIT-1003 | PRETREATMENT FLOW |  | FLOW |  |  | 0 | 50 | m3/h |  |  | 4-20mA AI | [7 empty] | TX-2000 | GENERIC
TIT-1004 | PRETREATMENT TEMPERATURE |  | TEMPERATURE |  |  | 0 | 80 | degC |  |  | 4-20mA AI | [7 empty] | TX-2000 | GENERIC
AIT-2001 | RO SYSTEM RESISTIVITY |  | RESISTIVITY |  |  | 0 | 18.2 | Mohm-cm |  |  | 4-20mA AI | [7 empty] | M300 | METTLER TOLEDO
AIT-2002 | RO SYSTEM CONDUCTIVITY |  | CONDUCTIVITY |  |  | 0 | 100 | uS/cm |  |  | 4-20mA AI | [7 empty] | M300 | METTLER TOLEDO
PIT-2003 | RO SYSTEM PRESSURE |  | PRESSURE |  |  | 0 | 10 | bar |  |  | 4-20mA AI | [7 empty] | TX-2000 | GENERIC
FIT-2004 | RO SYSTEM FLOW |  | FLOW |  |  | 0 | 50 | m3/h |  |  | 4-20mA AI | [7 empty] | TX-2000 | GENERIC
LIT-2005 | RO SYSTEM LEVEL |  | LEVEL |  |  | 0 | 100 | % |  |  | 4-20mA AI | [7 empty] | TX-2000 | GENERIC
AIT-3001 | CEDI SYSTEM RESISTIVITY |  | RESISTIVITY |  |  | 0 | 18.2 | Mohm-cm |  |  | 4-20mA AI | [7 empty] | M300 | METTLER TOLEDO
AIT-3002 | CEDI SYSTEM CONDUCTIVITY |  | CONDUCTIVITY |  |  | 0 | 100 | uS/cm |  |  | 4-20mA AI | [7 empty] | M300 | METTLER TOLEDO
PIT-3003 | CEDI SYSTEM PRESSURE |  | PRESSURE |  |  | 0 | 10 | bar |  |  | 4-20mA AI | [7 empty] | TX-2000 | GENERIC
FIT-3004 | CEDI SYSTEM FLOW |  | FLOW |  |  | 0 | 50 | m3/h |  |  | 4-20mA AI | [7 empty] | TX-2000 | GENERIC
AIT-4001 | UPW TANK RESISTIVITY |  | RESISTIVITY |  |  | 0 | 18.2 | Mohm-cm |  |  | 4-20mA AI | [7 empty] | M300 | METTLER TOLEDO
AIT-4002 | UPW TANK TOC |  | TOC |  |  | 0 | 50 | ppb |  |  | 4-20mA AI | [7 empty] | M9e | VEOLIA SIEVERS
LIT-4003 | UPW TANK LEVEL |  | LEVEL |  |  | 0 | 100 | % |  |  | 4-20mA AI | [7 empty] | TX-2000 | GENERIC
TIT-4004 | UPW TANK TEMPERATURE |  | TEMPERATURE |  |  | 0 | 80 | degC |  |  | 4-20mA AI | [7 empty] | TX-2000 | GENERIC
AIT-5001 | POLISHING LOOP RESISTIVITY |  | RESISTIVITY |  |  | 0 | 18.2 | Mohm-cm |  |  | 4-20mA AI | [7 empty] | M300 | METTLER TOLEDO
AIT-5002 | POLISHING LOOP DISSOLVED OXYGEN |  | DISSOLVED OXYGEN |  |  | 0 | 200 | ppb |  |  | 4-20mA AI | [7 empty] | M300 | METTLER TOLEDO
AIT-5003 | POLISHING LOOP TOC |  | TOC |  |  | 0 | 50 | ppb |  |  | 4-20mA AI | [7 empty] | M9e | VEOLIA SIEVERS
PIT-5004 | POLISHING LOOP PRESSURE |  | PRESSURE |  |  | 0 | 10 | bar |  |  | 4-20mA AI | [7 empty] | TX-2000 | GENERIC
FIT-5005 | POLISHING LOOP FLOW |  | FLOW |  |  | 0 | 50 | m3/h |  |  | 4-20mA AI | [7 empty] | TX-2000 | GENERIC
AIT-6001 | DISTRIBUTION RESISTIVITY |  | RESISTIVITY |  |  | 0 | 18.2 | Mohm-cm |  |  | 4-20mA AI | [7 empty] | M300 | METTLER TOLEDO
AIT-6002 | DISTRIBUTION TOC |  | TOC |  |  | 0 | 50 | ppb |  |  | 4-20mA AI | [7 empty] | M9e | VEOLIA SIEVERS
PIT-6003 | DISTRIBUTION PRESSURE |  | PRESSURE |  |  | 0 | 10 | bar |  |  | 4-20mA AI | [7 empty] | TX-2000 | GENERIC
FIT-6004 | DISTRIBUTION FLOW |  | FLOW |  |  | 0 | 50 | m3/h |  |  | 4-20mA AI | [7 empty] | TX-2000 | GENERIC
TIT-6005 | DISTRIBUTION TEMPERATURE |  | TEMPERATURE |  |  | 0 | 80 | degC |  |  | 4-20mA AI | [7 empty] | TX-2000 | GENERIC
AIT-7001 | RECLAIM CONDUCTIVITY |  | CONDUCTIVITY |  |  | 0 | 100 | uS/cm |  |  | 4-20mA AI | [7 empty] | M300 | METTLER TOLEDO
AIT-7002 | RECLAIM pH |  | pH |  |  | 0 | 14 | pH |  |  | 4-20mA AI | [7 empty] | M300 | METTLER TOLEDO
PIT-7003 | RECLAIM PRESSURE |  | PRESSURE |  |  | 0 | 10 | bar |  |  | 4-20mA AI | [7 empty] | TX-2000 | GENERIC
LIT-7004 | RECLAIM LEVEL |  | LEVEL |  |  | 0 | 100 | % |  |  | 4-20mA AI | [7 empty] | TX-2000 | GENERIC
AIT-1005 | PRETREATMENT CONDUCTIVITY |  | CONDUCTIVITY |  |  | 0 | 100 | uS/cm |  |  | 4-20mA AI | [7 empty] | M300 | METTLER TOLEDO
PIT-1006 | PRETREATMENT PRESSURE |  | PRESSURE |  |  | 0 | 10 | bar |  |  | 4-20mA AI | [7 empty] | TX-2000 | GENERIC
FIT-1007 | PRETREATMENT FLOW |  | FLOW |  |  | 0 | 50 | m3/h |  |  | 4-20mA AI | [7 empty] | TX-2000 | GENERIC
TIT-1008 | PRETREATMENT TEMPERATURE |  | TEMPERATURE |  |  | 0 | 80 | degC |  |  | 4-20mA AI | [7 empty] | TX-2000 | GENERIC
AIT-2006 | RO SYSTEM RESISTIVITY |  | RESISTIVITY |  |  | 0 | 18.2 | Mohm-cm |  |  | 4-20mA AI | [7 empty] | M300 | METTLER TOLEDO
AIT-2007 | RO SYSTEM CONDUCTIVITY |  | CONDUCTIVITY |  |  | 0 | 100 | uS/cm |  |  | 4-20mA AI | [7 empty] | M300 | METTLER TOLEDO
PIT-2008 | RO SYSTEM PRESSURE |  | PRESSURE |  |  | 0 | 10 | bar |  |  | 4-20mA AI | [7 empty] | TX-2000 | GENERIC
FIT-2009 | RO SYSTEM FLOW |  | FLOW |  |  | 0 | 50 | m3/h |  |  | 4-20mA AI | [7 empty] | TX-2000 | GENERIC
LIT-2010 | RO SYSTEM LEVEL |  | LEVEL |  |  | 0 | 100 | % |  |  | 4-20mA AI | [7 empty] | TX-2000 | GENERIC
AIT-3005 | CEDI SYSTEM RESISTIVITY |  | RESISTIVITY |  |  | 0 | 18.2 | Mohm-cm |  |  | 4-20mA AI | [7 empty] | M300 | METTLER TOLEDO
AIT-3006 | CEDI SYSTEM CONDUCTIVITY |  | CONDUCTIVITY |  |  | 0 | 100 | uS/cm |  |  | 4-20mA AI | [7 empty] | M300 | METTLER TOLEDO
PIT-3007 | CEDI SYSTEM PRESSURE |  | PRESSURE |  |  | 0 | 10 | bar |  |  | 4-20mA AI | [7 empty] | TX-2000 | GENERIC
FIT-3008 | CEDI SYSTEM FLOW |  | FLOW |  |  | 0 | 50 | m3/h |  |  | 4-20mA AI | [7 empty] | TX-2000 | GENERIC
AIT-4005 | UPW TANK RESISTIVITY |  | RESISTIVITY |  |  | 0 | 18.2 | Mohm-cm |  |  | 4-20mA AI | [7 empty] | M300 | METTLER TOLEDO
AIT-4006 | UPW TANK TOC |  | TOC |  |  | 0 | 50 | ppb |  |  | 4-20mA AI | [7 empty] | M9e | VEOLIA SIEVERS
LIT-4007 | UPW TANK LEVEL |  | LEVEL |  |  | 0 | 100 | % |  |  | 4-20mA AI | [7 empty] | TX-2000 | GENERIC
TIT-4008 | UPW TANK TEMPERATURE |  | TEMPERATURE |  |  | 0 | 80 | degC |  |  | 4-20mA AI | [7 empty] | TX-2000 | GENERIC
AIT-5006 | POLISHING LOOP RESISTIVITY |  | RESISTIVITY |  |  | 0 | 18.2 | Mohm-cm |  |  | 4-20mA AI | [7 empty] | M300 | METTLER TOLEDO
AIT-5007 | POLISHING LOOP DISSOLVED OXYGEN |  | DISSOLVED OXYGEN |  |  | 0 | 200 | ppb |  |  | 4-20mA AI | [7 empty] | M300 | METTLER TOLEDO
AIT-5008 | POLISHING LOOP TOC |  | TOC |  |  | 0 | 50 | ppb |  |  | 4-20mA AI | [7 empty] | M9e | VEOLIA SIEVERS
PIT-5009 | POLISHING LOOP PRESSURE |  | PRESSURE |  |  | 0 | 10 | bar |  |  | 4-20mA AI | [7 empty] | TX-2000 | GENERIC
FIT-5010 | POLISHING LOOP FLOW |  | FLOW |  |  | 0 | 50 | m3/h |  |  | 4-20mA AI | [7 empty] | TX-2000 | GENERIC
AIT-6006 | DISTRIBUTION RESISTIVITY |  | RESISTIVITY |  |  | 0 | 18.2 | Mohm-cm |  |  | 4-20mA AI | [7 empty] | M300 | METTLER TOLEDO
AIT-6007 | DISTRIBUTION TOC |  | TOC |  |  | 0 | 50 | ppb |  |  | 4-20mA AI | [7 empty] | M9e | VEOLIA SIEVERS
PIT-6008 | DISTRIBUTION PRESSURE |  | PRESSURE |  |  | 0 | 10 | bar |  |  | 4-20mA AI | [7 empty] | TX-2000 | GENERIC
FIT-6009 | DISTRIBUTION FLOW |  | FLOW |  |  | 0 | 50 | m3/h |  |  | 4-20mA AI | [7 empty] | TX-2000 | GENERIC
TIT-6010 | DISTRIBUTION TEMPERATURE |  | TEMPERATURE |  |  | 0 | 80 | degC |  |  | 4-20mA AI | [7 empty] | TX-2000 | GENERIC
AIT-7005 | RECLAIM CONDUCTIVITY |  | CONDUCTIVITY |  |  | 0 | 100 | uS/cm |  |  | 4-20mA AI | [7 empty] | M300 | METTLER TOLEDO
AIT-7006 | RECLAIM pH |  | pH |  |  | 0 | 14 | pH |  |  | 4-20mA AI | [7 empty] | M300 | METTLER TOLEDO
PIT-7007 | RECLAIM PRESSURE |  | PRESSURE |  |  | 0 | 10 | bar |  |  | 4-20mA AI | [7 empty] | TX-2000 | GENERIC
LIT-7008 | RECLAIM LEVEL |  | LEVEL |  |  | 0 | 100 | % |  |  | 4-20mA AI | [7 empty] | TX-2000 | GENERIC
AIT-1009 | PRETREATMENT CONDUCTIVITY |  | CONDUCTIVITY |  |  | 0 | 100 | uS/cm |  |  | 4-20mA AI | [7 empty] | M300 | METTLER TOLEDO
PIT-1010 | PRETREATMENT PRESSURE |  | PRESSURE |  |  | 0 | 10 | bar |  |  | 4-20mA AI | [7 empty] | TX-2000 | GENERIC
FIT-1011 | PRETREATMENT FLOW |  | FLOW |  |  | 0 | 50 | m3/h |  |  | 4-20mA AI | [7 empty] | TX-2000 | GENERIC
TIT-1012 | PRETREATMENT TEMPERATURE |  | TEMPERATURE |  |  | 0 | 80 | degC |  |  | 4-20mA AI | [7 empty] | TX-2000 | GENERIC
AIT-2011 | RO SYSTEM RESISTIVITY |  | RESISTIVITY |  |  | 0 | 18.2 | Mohm-cm |  |  | 4-20mA AI | [7 empty] | M300 | METTLER TOLEDO
AIT-2012 | RO SYSTEM CONDUCTIVITY |  | CONDUCTIVITY |  |  | 0 | 100 | uS/cm |  |  | 4-20mA AI | [7 empty] | M300 | METTLER TOLEDO
PIT-2013 | RO SYSTEM PRESSURE |  | PRESSURE |  |  | 0 | 10 | bar |  |  | 4-20mA AI | [7 empty] | TX-2000 | GENERIC
FIT-2014 | RO SYSTEM FLOW |  | FLOW |  |  | 0 | 50 | m3/h |  |  | 4-20mA AI | [7 empty] | TX-2000 | GENERIC
LIT-2015 | RO SYSTEM LEVEL |  | LEVEL |  |  | 0 | 100 | % |  |  | 4-20mA AI | [7 empty] | TX-2000 | GENERIC
AIT-3009 | CEDI SYSTEM RESISTIVITY |  | RESISTIVITY |  |  | 0 | 18.2 | Mohm-cm |  |  | 4-20mA AI | [7 empty] | M300 | METTLER TOLEDO
LIT-01A | RAW WATER POND A LEVEL |  | LEVEL |  |  | 0 | 100 | % |  |  | 4-20mA AI | [7 empty] | TX-2000 | GENERIC |  | INTERLOCK_SAMPLE LCV-01 조건 태그 (데모)
LIT-01B | RAW WATER POND B LEVEL |  | LEVEL |  |  | 0 | 100 | % |  |  | 4-20mA AI | [7 empty] | TX-2000 | GENERIC |  | INTERLOCK_SAMPLE LCV-01 조건 태그 (데모)
LIT-02A | RAW WATER POND A LEVEL (REDUNDANT) |  | LEVEL |  |  | 0 | 100 | % |  |  | 4-20mA AI | [7 empty] | TX-2000 | GENERIC |  | INTERLOCK_SAMPLE LCV-01 조건 태그 (데모)
LIT-02B | RAW WATER POND B LEVEL (REDUNDANT) |  | LEVEL |  |  | 0 | 100 | % |  |  | 4-20mA AI | [7 empty] | TX-2000 | GENERIC |  | INTERLOCK_SAMPLE LCV-01 조건 태그 (데모)
P-1101A | RAW WATER TRANSFER PUMP A |  | PUMP
P-1101B | RAW WATER TRANSFER PUMP B |  | PUMP
XV-1102 | RAW WATER INLET VALVE |  | ON-OFF VALVE
XV-1103 | MEDIA FILTER BACKWASH VALVE |  | ON-OFF VALVE
P-2101A | RO HIGH PRESSURE PUMP A |  | PUMP
P-2101B | RO HIGH PRESSURE PUMP B |  | PUMP
XV-2102 | RO FEED VALVE |  | ON-OFF VALVE
XV-2103 | RO CONCENTRATE DRAIN VALVE |  | ON-OFF VALVE
XV-2104 | RO PERMEATE DIVERT VALVE |  | ON-OFF VALVE
P-3101 | CEDI FEED PUMP |  | PUMP
XV-3102 | CEDI INLET VALVE |  | ON-OFF VALVE
XV-3103 | CEDI CONCENTRATE VALVE |  | ON-OFF VALVE
R-3104 | CEDI DC RECTIFIER |  | RECTIFIER
XV-4101 | UPW TANK INLET VALVE |  | ON-OFF VALVE
XV-4102 | UPW TANK DRAIN VALVE |  | ON-OFF VALVE
P-5101A | POLISHING CIRCULATION PUMP A |  | PUMP
P-5101B | POLISHING CIRCULATION PUMP B |  | PUMP
UV-5102 | POLISHING UV TOC REDUCER |  | UV UNIT
XV-5103 | POLISHING LOOP INLET VALVE |  | ON-OFF VALVE
P-6101A | DISTRIBUTION PUMP A |  | PUMP
XV-6102 | POU SUPPLY VALVE |  | ON-OFF VALVE
P-7101 | RECLAIM TRANSFER PUMP |  | PUMP
LCV-01 | RAW WATER POND LEVEL CONTROL VALVE |  | CONTROL VALVE | [18 empty] | INTERLOCK_SAMPLE 실물양식 데모용. PANEL 배선(계기리스트) 없음 — 판넬 위치 조회 시 추정하지 않음.
RWP-01 | RAW WATER PUMP |  | PUMP | [18 empty] | INTERLOCK_SAMPLE 실물양식 데모용. PANEL 배선(계기리스트) 없음.

## PROVENANCE
GENERATED | 2026-08-13 04:20:44
GENERATOR | tools/make_io_list.py
DOCUMENT | INSTRUMENT LIST
COLUMNS | TAG NO. ¦ DESCRIPTION ¦ Q'TY ¦ SENSOR TYPE ¦ MATERIAL¦ELEMENT ¦ MATERIAL¦BODY ¦ SCALE RANGE¦MIN ¦ SCALE RANGE¦MAX ¦ SCALE RANGE¦UNIT ¦ DISPLAY ¦ POWER ¦ OUTPUT SIGNAL ¦ CONNECTION¦TYPE ¦ CONNECTION¦SIZE ¦ CONNECTION¦MATERIAL ¦ LINE¦SIZE ¦ LINE¦MATERIAL ¦ FLUID¦NAME ¦ FLUID¦CONDITION ¦ MODEL ¦ MAKER ¦ LOCATION ¦ REMARKS
SOURCE INPUT | DEMO_INSTRUMENT_LIST.xlsx
SOURCE ROWS | 100